## Sheet1
Sr. No. | Date of sample collection (Morning Hrs) | Place of collecting the sample | Sample Collected & Received | Whatman Filtration | Micro Filtration | COD value | TDS value (ppm) | pH value | Conductivity value
1 | 24.01.2022 | Feed Tank |  |  |  | 640 | 466 | 8.18 | 1077
2 | 24.01.2022 | Aerobic Tank |  |  |  | 192 | 577 | 8.7 | 1129
3 | 24.01.2022 | Clarifier |  |  |  | 128 | 622 | 8.56 | 1338
4 | 25.01.2022 | Aerobic Tank |  |  |  | 384 | 532 | 8.43 | 1111
5 | 27.01.2022 | Aerobic Tank |  |  |  | 224 | 565 | 7.9 | 1035
6 | 28.01.2022 | Aerobic Tank |  |  |  | 160 | 561 | 7.72 | 1075
7 | 29.01.2022 | Aerobic Tank |  |  |  | 128 | 580 | 7.68 | 1063
8 | 31.01.2022 | Aerobic Tank |  |  |  | 96 | 669 | 8.08 | 1250
9 | 01.02.2022 | Aerobic Tank |  |  |  | 89.6 | 635 | 7.99 | 1106
10 | 02.02.2022 | Aerobic Tank |  |  |  | 84.8 | 555 | 8.12 | 978
11 | 03.02.2022 | Aerobic Tank |  |  |  | 64 | 593 | 8.08 | 1077
12 | 04.02.2022 | Aerobic Tank |  |  |  | 54.4 | 528 | 7.54 | 964
13 | 05.02.2022 | Aerobic Tank |  |  |  | 48 | 575 | 8.27 | 1000
14 | 07.02.2022 | Aerobic Tank (After addition of sewage) |  |  |  | 400 | 611 | 8.11 | 1198
15 | 08.02.2022 | Aerobic Tank |  |  |  | 384 | 548 | 8.14 | 964
16 | 09.02.2022 | Aerobic Tank |  |  |  | 379.2 | 592 | 7.91 | 1060
17 | 10.02.2022 | Aerobic Tank |  |  |  | 368 | 544 | 7.84 | 966
18 | 10.02.2022 | Clarifier |  |  |  | 208 | 549 | 7.35 | 1007
19 | 11.02.2022 | Aerobic Tank (Morning) |  |  |  | 288 | 539 | 8.03 | 1054
20 | 11.02.2022 | Aerobic Tank (Evening) |  |  |  | 256 | 535 | 8.06 | 1056
21 | 12.02.2022 | Aerobic Tank |  |  |  | 128 | 557 | 8.05 | 922
22 | 12.02.2022 | RO Permeate |  |  |  | 104 | 35 | 8.03 | 51.9
23 | 12.02.2022 | RO Reject |  |  |  | 288 | 860 | 7.65 | 1407
24 | 14.02.2022 | Aerobic Tank |  |  |  | 80 | 525 | 8.04 | 944
25 | 15.02.2022 | Aerobic Tank |  |  |  | 48 | 485 | 8.19 | 1045
26 | 16.02.2022 | Aerobic Tank |  |  |  | 35.2 | 494 | 8.25 | 1030
27 | 17.02.2022 | Aerobic Tank |  |  |  | 32 | 584 | 8.69 | 1100
28 | 18.02.2022 | Aerobic Tank |  |  |  | 464 | 566 | 8.45 | 1055
29 | 18.02.2022 | Clarifier Tank |  |  |  | 256 | 514 | 8.34 | 998
30 | 18.02.2022 | Feed Tank |  |  |  | 480 | 565 | 8.44 | 960
31 | 21.02.2022 | Aerobic Tank |  |  |  | 448 | 581 | 8.32 | 1076
33 | 21.02.2022 | RO Permeate |  |  |  | 64 | 36 | 7.83 | 52.1
34 | 21.02.2022 | RO Reject |  |  |  | 256 | 869 | 7.56 | 1531
36 | 23.02.2022 | Aerobic Tank |  |  |  | 384 | 553 | 8.24 | 1025
37 | 24.02.2022 | Aerobic Tank |  |  |  | 368 | 556 | 8.14 | 1007
38 | 25.02.2022 | Aerobic Tank |  |  |  | 352 | 534 | 8.34 | 997
39 | 25.02.2022 | Pure Water |  |  |  | 256 | 497 | 7.79 | 963
40 | 26.02.2022 | Aerobic Tank |  |  |  | 320 | 542 | 8.11 | 1010
41 | 28.02.2022 | Aerobic Tank |  |  |  | 288 | 527 | 8.38 | 971
42 | 02.03.2022 | Aerobic Tank |  |  |  | 256 | 533 | 8.36 | 988
Water Pushed on 03.03.2022 (800 litres per hr x 5.5 hrs = 4400 litres)
43 | 02.03.2022 | Tanker Sewage (After 100 % Filtration) |  |  |  | 416 | 461 | 8.2 | 895
44 | 03.03.2022 | Feed Tank without Pump |  |  |  | 544 | 494 | 8.31 | 962
45 | 03.03.2022 | Feed Tank with Pump |  |  |  | 432 | 545 | 7.8 | 1069
46 | 03.03.2022 | Aerobic Tank (From Previous Cycle of 18.02.2022) |  |  |  | 176 | 508 | 8.08 | 996
47 | 04.03.2022 | Aerobic |  |  |  | 256 | 576 | 7.72 | 1125
48 | 04.03.2022 | Clarifier |  |  |  | 288 | 527 | 6.89 | 1024
49 | 05.03.2022 | Aerobic Tank |  |  |  | 208 | 545 | 8.02 | 1060
50 | 07.03.2022 | Aerobic Tank |  |  |  | 188.8 | 490 | 8 | 1059
51 | 08.03.2022 | Aerobic Tank |  |  |  | 160 | 531 | 7.63 | 1009
52 | 09.03.2022 | Aerobic Tank |  |  |  | 128 | 490 | 7.56 | 971
53 | 10.03.2022 | Aerobic Tank |  |  |  | 124 | 506 | 7.7 | 1021
54 | 11.03.2022 | Aerobic Tank |  |  |  | 96 | 432 | 7.86 | 987
55 | 11.03.2022 | Tanker Sewage |  |  |  | (736+768)/2= 752 | 416 | 8.15 | 811
56 | 11.03.2022 | Tanker Sewage (After 100 % Filtration) |  |  |  | 416 | 416 | 8.15 | 811
57 | 12.03.2022 | Aerobic Tank |  |  |  | 80 | 486 | 7.99 | 941
58 | 14.03.2022 | Aerobic Tank (Morning) |  |  |  | 64 | 485 | 7.93 | 955
59 | 14.03.2022 | Aerobic Tank (Evening) |  |  |  | 32 | 483 | 7.35 | 969
Water Pushed on 15.03.2022 (500 litres per hr x 7 hrs = 3500 litres)
60 | 15.03.2022 | RO Permeate |  |  |  | 25.6 | 33 | 8.25 | 41.6
61 | 15.03.2022 | RO Reject |  |  |  | 384 | 1170 | 7.7 | 1845
62 | 15.03.2022 | RO Feed |  |  |  | 96 | 542 | 7.75 | 986
63 | 15.03.2022 | Clarifier Tank |  |  |  | 304 | 520 | 7.46 | 1032
64 | 15.03.2022 | Aerobic Tank |  |  |  | 160 | 522 | 7.54 | 1021
65 | 15.03.2022 | UF RO Feed |  |  |  | 25.6 | 534 | 7.27 | 1011
66 | 15.03.2022 | Feed With Pump |  |  |  | 352 | 558 | 7.65 | 1024
67 | 16.03.2022 | Aerobic Tank |  |  |  | 288 | 567 | 7.49 | 1085
68 | 17.03.2022 | Aerobic Tank |  |  |  | 256 | 507 | 7.31 | 1021
69 | 19.03.2022 | Aerobic Tank |  |  |  | 224 | 508 | 7.47 | 994
70 | 21.03.2022 | Aerobic Tank |  |  |  | 192 | 440 | 7.46 | 945
71 | 22.03.2022 | Aerobic Tank |  |  |  | 176 | 434 | 7.57 | 919
72 | 23.03.2022 | Aerobic Tank |  |  |  | 160 | 430 | 7.37 | 915
73 | 24.03.2022 | Aerobic Tank |  |  |  | 144 | 487 | 7.39 | 929
74 | 25.03.2022 | Aerobic Tank |  |  |  | 112 | 479 | 7.56 | 926
75 | 26.03.2022 | Aerobic Tank |  |  |  | 96 | 470 | 7.52 | 909
76 | 28.03.2022 | Aerobic Tank |  |  |  | 80 | 494 | 7.51 | 935
77 | 28.03.2022 | Tanker Sewage (Pushed on 30.03.2022) |  |  |  | 992 | 2072 | 7.98 | 4024
78 | 28.03.2022 | Tanker Sewage (After 100 % Filtration-Pushed on 30.03.2022) |  |  |  | 448 | 2072 | 7.98 | 4024
79 | 29.03.2022 | Aerobic Tank |  |  |  | 70.4 | 489 | 7.65 | 930
80 | 30.03.2022 | Aerobic Tank (Morning) |  |  |  | 48 | 486 | 7.75 | 929
Water Pushed on 30.03.2022 (2000 litres) & Packings Added (31st)
81 | 30.03.2022 | Aerobic Tank (Evening - After water pushed) |  |  |  | 32 | 569 | 7.45 | 1154
82 | 30.03.2022 | Feed tank with Pump |  |  |  | 352 | 502 | 7.65 | 969
83 | 30.03.2022 | Clarifier (From Earlier) |  |  |  | 96 | 554 | 7.41 | 1102
84 | 31.03.2022 | Aerobic Tank |  |  |  | 288 | 549 | 7.53 | 1042
85 | 01.04.2022 | Aerobic Tank |  |  |  | 224 | 560 | 7.82 | 1132
86 | 01.04.2022 | RO Feed Tank |  |  |  | 192 | 544 | 7.69 | 1079
87 | 04.04.2022 | Aerobic Tank (Before Water Pushed) |  |  |  | 160 | 518 | 7.54 | 972
Water Pushed on 04.04.2022 (1500 litres)
88 | 04.04.2022 | Aerobic Tank (After Water Pushed) |  |  |  | 128 | 528 | 7.44 | 989
89 | 04.04.2022 | Feed Tank With Pump |  |  |  | 384 | 1160 | 7.32 | 2211
90 | 04.04.2022 | Clarifier Tank |  |  |  | 128 | 520 | 7.46 | 980
91 | 04.04.2022 | RO Feed Tank |  |  |  | 160 | 526 | 7.48 | 988
92 | 05.04.2022 | Aerobic Tank |  |  |  | 320 | 504 | 7.39 | 977
93 | 06.04.2022 | Aerobic Tank |  |  |  | 256 | 496 | 7.03 | 932
94 | 07.04.2022 | Aerobic Tank |  |  |  | 224 | 465 | 6.89 | 908
95 | 08.04.2022 | Aerobic Tank |  |  |  | 192 | 458 | 7.17 | 890
96 | 09.04.2022 | Aerobic Tank |  |  |  | 176 | 443 | 7.47 | 951
97 | 11.04.2022 | Aerobic Tank |  |  |  | 128 | 473 | 7.66 | 953
98 | 11.04.2022 | Feed Tank (Time: 8:30) |  |  |  | 352 | 1370 | 7.77 | 2449
99 | 12.04.2022 | Feed Tank |  |  |  | 320 | 1030 | 7.9 | 1982
Run 1
100 | 12.04.2022 | RO Feed Tank ( Time: 1 a.m) |  |  |  | 96 | 489 | 7.41 | 983
101 | 12.04.2022 | RO Permeate |  |  |  | 32 | 52 | 8.17 | 89
102 | 12.04.2022 | RO Reject |  |  |  | 352 | 821 | 7.35 | 1591
Run 2
103 | 12.04.2022 | RO Feed Tank |  |  |  | 128 | 566 | 7.33 | 1040
104 | 12.04.2022 | RO Permeate |  |  |  | 64 | 126 | 7.39 | 221
105 | 12.04.2022 | RO Reject |  |  |  | 384 | 705 | 7.3 | 1232
106 | 12.04.2022 | FC Feed Tank |  |  |  | 384 | 677 | 7.82 | 1349
107 | 12.04.2022 | FC Permeate |  |  |  | 64 | 155 | 7.89 | 342
108 | 12.04.2022 | FC Reject |  |  |  | 400 | 658 | 8 | 1345
109 | 12.04.2022 | Product Water |  |  |  | 32 | 169 | 7.62 | 330
110 | 13.04.2022 | Aerobic Tank |  |  |  | 448 | 975 | 7.86 | 1702
111 | 18.04.2022 | Aerobic Tank |  |  |  | 416 | 813 | 8.17 | 1505
112 | 20.04.2022 | Aerobic Tank |  |  |  | 384 | 774 | 8.17 | 1373
113 | 21.04.2022 | Aerobic Tank |  |  |  | 368 | 770 | 7.5 | 1474
114 | 22.04.2022 | Aerobic Tank |  |  |  | 352 | 764 | 7.42 | 1375
115 | 25.04.2022 | Aerobic Tank |  |  |  | 256 | 679 | 7.02 | 1273
116 | 26.04.2022 | Aerobic Tank |  |  |  | 240 | 704 | 7.03 | 1286
117 | 28.04.2022 | Aerobic Tank |  |  |  | 224 | 744 | 6.69 | 1325
118 | 29.04.2022 | Aerobic Tank |  |  |  | 208 | 722 | 6.89 | 1323
119 | 29.04.2022 | Tanker Sewage |  |  |  | 384 | 354 | 7.5 | 713
120 | 29.04.2022 | Tanker Sewage ( After 100% Filtration) |  |  |  | 352 | 354 | 7.5 | 713
121 | 02.05.2022 | Aerobic Tank |  |  |  | 208 | 715 | 6.86 | 1358
122 | 04.05.2022 | Aerobic Tank |  |  |  | 240 | 779 | 6.79 | 1471
123 | 06.05.2022 | Aerobic Tank |  |  |  | 320 | 789 | 6.91 | 1485
124 | 09.05.2022 | Aerobic Tank |  |  |  | 256 | 782 | 6.86 | 1412
125 | 10.05.2022 | Aerobic Tank |  |  |  | 192 | 796 | 6.89 | 1415
126 | 11.05.2022 | Aerobic Tank |  |  |  | 128 | 753 | 6.87 | 1405
127 | 12.05.2022 | Aerobic Tank |  |  |  | 128 | 801 | 6.91 | 1493
128 | 13.05.2022 | Aerobic Tank |  |  |  | 160 | 811 | 6.95 | 1501
129 | 14.05.2022 | Aerobic Tank |  |  |  | 192 | 818 | 7.08 | 1509
130 | 17.05.2022 | Aerobic Tank |  |  |  | 128 | 798 | 7.01 | 1429
131 | 18.05.2022 | Aerobic Tank |  |  |  | 96 | 800 | 6.97 | 1435
132 | 19.05.2022 | Aerobic Tank (Before Water Pushed) |  |  |  | 64 | 769 | 7.02 | 1398
133 | 19.05.2022 | Feed Tank |  |  |  | 320 | 623 | 7.69 | 1121
Water Pushed on 19.05.2022 (1500 litres)
134 | 19.05.2022 | Aerobic Tank (After Water Pushed) |  |  |  | 288 | 974 | 7.46 | 1741
135 | 20.05.2022 | Aerobic Tank |  |  |  | 256 | 881 | 7.43 | 1561
136 | 21.05.2022 | Aerobic Tank |  |  |  | 240 | 828 | 7.35 | 1521
137 | 23.05.2022 | Aerobic Tank |  |  |  | 224 | 819 | 7.21 | 1519
138 | 24.05.2022 | Aerobic Tank |  |  |  | 217.6 | 782 | 7.1 | 1457
139 | 25.05.2022 | Aerobic Tank |  |  |  | 208 | 767 | 7.03 | 1427
140 | 26.05.2022 | Aerobic Tank |  |  |  | 201.6 | 818 | 6.97 | 1509
141 | 27.05.2022 | Aerobic Tank |  |  |  | 192 | 814 | 7 | 1497
142 | 28.05.2022 | Aerobic Tank |  |  |  | 185.5 | 810 | 6.99 | 1487
143 | 30.05.2022 | Aerobic Tank |  |  |  | 176 | 803 | 6.95 | 1463
144 | 31.05.2022 | Aerobic Tank |  |  |  | 169.6 | 800 | 6.87 | 1455
145 | 01.06.2022 | Aerobic Tank |  |  |  | 160 | 797 | 6.81 | 1442
146 | 02.06.2022 | Aerobic Tank |  |  |  | 153.6 | 793 | 6.79 | 1428
147 | 03.06.2022 | Aerobic Tank |  |  |  | 144 | 741 | 6.73 | 1415
148 | 04.06.2022 | Aerobic Tank |  |  |  | 137.6 | 814 | 6.87 | 1441
149 | 06.06.2022 | Aerobic Tank |  |  |  | 131.2 | 800 | 6.79 | 1448
150 | 07.06.2022 | Aerobic Tank |  |  |  | 121.6 | 848 | 6.77 | 1468
151 | 08.06.2022 | Aerobic Tank |  |  |  | 192 | 851 | 6.75 | 1451
152 | 09.06.2022 | Aerobic Tank |  |  |  | 224 | 858 | 6.73 | 1504
153 | 10.06.2022 | Aerobic Tank |  |  |  | 160 | 866 | 6.74 | 1514
154 | 11.06.2022 | Aerobic Tank |  |  |  | 128 | 861 | 6.72 | 1511
155 | 13.06.2022 | Aerobic Tank |  |  |  | 96 | 872 | 6.73 | 1523
Water Pushed on 13.06.2022 (2000 litres)
156 | 14.06.2022 | Aerobic Tank |  |  |  | 320 | 832 | 7.45 | 1433
157 | 15.06.2022 | Aerobic Tank |  |  |  | 304 | 821 | 7.45 | 1362
158 | 16.06.2022 | Aerobic Tank |  |  |  | 288 | 792 | 7.6 | 1358
159 | 17.06.2022 | Aerobic Tank |  |  |  | 281.6 | 778 | 7.52 | 1323
160 | 18.06.2022 | Aerobic Tank |  |  |  | 272 | 750 | 7.41 | 1302
161 | 20.06.2022 | Aerobic Tank |  |  |  | 265.6 | 678 | 7.34 | 1241
162 | 21.06.2022 | Aerobic Tank |  |  |  | 259.2 | 624 | 7.22 | 1186
163 | 22.06.2022 | Aerobic Tank |  |  |  | 252.8 | 661 | 7.13 | 1192
164 | 23.06.2022 | Aerobic Tank |  |  |  | 243.2 | 622 | 6.97 | 1140
165 | 24.06.2022 | Aerobic Tank |  |  |  | 236.8 | 610 | 6.96 | 1127
166 | 25.06.2022 | Aerobic Tank |  |  |  | 230.4 | 596 | 6.93 | 1103
167 | 27.06.2022 | Aerobic Tank |  |  |  | 224 | 595 | 7.12 | 1101
168 | 28.06.2022 | Aerobic Tank |  |  |  | 220.8 | 598 | 7.58 | 1142
169 | 29.06.2022 | Aerobic Tank |  |  |  | 214.4 | 623 | 7.5 | 1182
170 | 30.06.2022 | Aerobic Tank |  |  |  | 208 | 625 | 7.39 | 1187
171 | 1.07.2022 | Aerobic Tank |  |  |  | 201.6 | 625 | 7.35 | 1185
172 | 2.07.2022 | Aerobic Tank |  |  |  | 192 | 596 | 7.45 | 1115
173 | 4.07.2022 | Aerobic Tank |  |  |  | 185.6 | 621 | 7.4 | 1199
174 | 5.07.2022 | Aerobic Tank |  |  |  | 208 | 648 | 7.4 | 1162
175 | 6.07.2022 | Aerobic Tank |  |  |  | 192 | 583 | 7.39 | 1100
176 | 7.07.2022 | Aerobic Tank |  |  |  | 182.4 | 581 | 7.35 | 1091
177 | 8.07.2022 | Aerobic Tank |  |  |  | 176 | 580 | 7.35 | 1097
178 | 9.07.2022 | Aerobic Tank |  |  |  | 163.2 | 589 | 7.39 | 1111
179 | 14.07.2022 | Aerobic Tank |  |  |  | 128 | 545 | 7.23 | 1020
180 | 15.07.2022 | Aerobic Tank |  |  |  | 112 | 510 | 7.56 | 989
181 | 16.07.2022 | Aerobic Tank |  |  |  | 96 | 521 | 7.57 | 1010
182 | 18.07.2022 | Aerobic Tank |  |  |  | 86.4 | 514 | 7.65 | 993
183 | 19.07.2022 | Aerobic Tank |  |  |  | 80 | 522 | 7.6 | 1008
184 | 20.07.2022 | Aerobic Tank |  |  |  | 73.6 | 524 | 7.58 | 1009
185 | 21.07.2022 | Aerobic Tank |  |  |  | 67.2 | 519 | 7.55 | 989
186 | 22.07.2022 | Aerobic Tank |  |  |  | 64 | 520 | 7.54 | 997
187 | 23.07.2022 | Aerobic Tank |  |  |  | 60.8 | 518 | 7.52 | 985
188 | 25.07.2022 | Aerobic Tank |  |  |  | 96 | 529 | 7.79 | 1019
189 | 26.07.2022 | Aerobic Tank |  |  |  | 105.6 | 532 | 7.83 | 1024
190 | 27.07.2022 | Aerobic Tank |  |  |  | 102.4 | 528 | 7.77 | 1015
191 | 28.07.2022 | Aerobic Tank |  |  |  | 112 | 531 | 7.7 | 1022
192 | 29.07.2022 | Aerobic Tank |  |  |  | 115.2 | 530 | 7.52 | 1019
193 | 30.07.2022 | Aerobic Tank |  |  |  | 108.8 | 529 | 7.53 | 1018
194 | 01.08.2022 | Aerobic Tank |  |  |  | 112 | 540 | 7.55 | 1009
195 | 02.08.2022 | Aerobic Tank |  |  |  | 99.2 | 541 | 7.62 | 1053
196 | 03.08.2022 | Aerobic Tank |  |  |  | 92.8 | 535 | 7.64 | 1024
197 | 04.08.2022 | Aerobic Tank |  |  |  | 86.4 | 526 | 7.51 | 1015
198 | 05.08.2022 | Aerobic Tank |  |  |  | 80 | 525 | 7.53 | 1013
199 | 06.08.2022 | Aerobic Tank |  |  |  | 73.6 | 541 | 7.49 | 1046
200 | 08.08.2022 | Aerobic Tank |  |  |  | 67.2 | 545 | 7.51 | 1055
201 | 10.08.2022 | Aerobic Tank |  |  |  | 64 | 500 | 7.69 | 987
202 | 11.08.2022 | Aerobic Tank |  |  |  | 57.6 | 493 | 7.67 | 981
203 | 12.08.2022 | Aerobic Tank |  |  |  | 51.2 | 489 | 7.65 | 978
204 | 13.08.2022 | Aerobic Tank |  |  |  | 48 | 480 | 7.6 | 972
205 | 17.08.2022 | Aerobic Tank |  |  |  | 44.8 | 470 | 7.51 | 955
206 | 18.08.2022 | Aerobic Tank |  |  |  | 41.6 | 491 | 7.51 | 979
207 | 19.08.2022 | Aerobic Tank |  |  |  | 60.8 | 509 | 7.49 | 995
208 | 22.08.2022 | Aerobic Tank |  |  |  | 54.4 | 502 | 7.63 | 993
209 | 24.08.2022 | Aerobic Tank |  |  |  | 48 | 508 | 7.7 | 1006
210 | 25.08.2022 | Aerobic Tank |  |  |  | 41.6 | 518 | 7.68 | 1022
211 | 26.08.2022 | Aerobic Tank |  |  |  | 35.2 | 516 | 7.65 | 1018
212 | 27.08.2022 | Aerobic Tank |  |  |  | 32 | 507 | 7.6 | 1007
213 | 30.08.2022 | Sewage Tanker 1 |  |  |  | 672 | 243 | 7.78 | 514
214 | 30.08.2022 | Sewage Tanker 1 ( After 100% Filtration) |  |  |  | 192 | 243 | 7.78 | 514
215 | 01.09.2022 | Aerobic Tank |  |  |  | 35.2 | 511 | 7.66 | 976
216 | 02.09.2022 | Aerobic Tank |  |  |  | 32 | 501 | 7.64 | 943
Water Pushed on 03.09.2022 (4000 litres)
217 | 06.09.2022 | Aerobic Tank |  |  |  | 144 | 461 | 7.68 | 930
218 | 07.09.2022 | Aerobic Tank |  |  |  | 128 | 487 | 7.86 | 945
219 | 08.09.2022 | Aerobic Tank |  |  |  | 112 | 465 | 7.86 | 934
220 | 08.09.2022 | Sewage Tanker 2 |  |  |  | 288 | 221 | 7.53 | 484
221 | 08.09.2022 | Sewage Tanker 2 ( After 100% Filtration) |  |  |  | 230 | 221 | 7.53 | 484
222 | 12.09.2022 | Aerobic Tank |  |  |  | 96 | 443 | 7.7 | 883
223 | 13.09.2022 | Aerobic Tank |  |  |  | 102.4 | 439 | 7.74 | 851
Water Pushed on 13.09.2022 (4000 litres)
224 | 13.09.2022 | Feed Tank |  |  |  | 224 | 241 | 7.34 | 493
225 | 14.09.2022 | Aerobic Tank |  |  |  | 208 | 250 | 7.54 | 498
Water Pushed on 14.09.2022 (2000 litres)
226 | 16.09.2022 | Aerobic Tank |  |  |  | 182.4 | 257 | 7.87 | 521
227 | 17.09.2022 | Aerobic Tank (Morning) |  |  |  | 115 | 270 | 7.69 | 571
228 | 17.09.2022 | UF/MF Product |  |  |  | 19.2 | 240 | 8.09 | 469
229 | 17.09.2022 | Aerobic Tank (2:30 pm) |  |  |  | 41.6 | 242 | 8.05 | 485
230 | 17.09.2022 | Clarifier Tank |  |  |  | 185.6 | 258 | 8.39 | 570
231 | 17.09.2022 | RO Feed Tank |  |  |  | 60 | 255 | 8.19 | 503
232 | 19.09.2022 | Aerobic Tank |  |  |  | 140.8 | 249 | 7.95 | 488
233 | 20.09.2022 | Aerobic Tank |  |  |  | 131.2 | 250 | 8.05 | 499
234 | 21.09.2022 | Aerobic Tank |  |  |  | 121.6 | 247 | 7.98 | 486
235 | 22.09.2022 | Aerobic Tank |  |  |  | 112 | 239 | 8.01 | 473
236 | 23.09.2022 | Aerobic Tank |  |  |  | 128 | 242 | 8 | 471
237 | 24.09.2022 | Aerobic Tank |  |  |  | 137.6 | 251 | 7.87 | 505
238 | 27.09.2022 | Aerobic Tank |  |  |  | 144 | 248 | 7.97 | 501
239 | 01.10.2022 | Aerobic Tank |  |  |  | 156.8 | 241 | 7.94 | 487
240 | 02.11.2022 | Aerobic Tank |  |  |  | 163.2 | 299 | 8.01 | 605
241 | 03.11.2022 | Aerobic Tank |  |  |  | 153.6 | 297 | 7.98 | 601
242 | 05.11.2022 | Aerobic Tank |  |  |  | 144 | 295 | 7.89 | 597
243 | 07.11.2022 | Aerobic Tank |  |  |  | 137.6 | 323 | 7.83 | 677
244 | 08.11.2022 | Aerobic Tank |  |  |  | 131.2 | 319 | 7.79 | 645
245 | 09.11.2022 | Aerobic Tank |  |  |  | 96 | 312 | 7.75 | 640
246 | 10.11.2022 | Aerobic Tank |  |  |  | 86.4 | 308 | 7.77 | 634
247 | 11.11.2022 | Aerobic Tank |  |  |  | 80 | 300 | 7.8 | 621
248 | 12.11.2022 | Aerobic Tank |  |  |  | 76.8 | 325 | 7.82 | 698
249 | 14.11.2022 | Aerobic Tank |  |  |  | 70.4 | 323 | 7.81 | 678
250 | 15.11.2022 | Aerobic Tank |  |  |  | 64 | 318 | 7.78 | 665
251 | 16.11.2022 | Aerobic Tank |  |  |  | 86.4 | 320 | 7.8 | 669
252 | 17.11.2022 | Aerobic Tank |  |  |  | 80 | 330 | 7.86 | 726
253 | 22.11.2022 | Aerobic Tank |  |  |  | 160 | 333 | 7.84 | 727
254 | 23.11.2022 | Aerobic Tank |  |  |  | 124.8 | 329 | 7.81 | 721
255 | 24.11.2022 | Aerobic Tank |  |  |  | 118.4 | 328 | 7.82 | 724
256 | 25.11.2022 | Aerobic Tank |  |  |  | 112 | 322 | 7.79 | 717
257 | 28.11.2022 | Aerobic Tank |  |  |  | 160 | 324 | 7.8 | 720
258 | 29.11.2022 | Aerobic Tank |  |  |  | 153.6 | 327 | 7.78 | 725
259 | 30.11.2022 | Aerobic Tank |  |  |  | 150.4 | 323 | 7.6 | 718
260 | 01.11.2022 | Aerobic Tank |  |  |  | 144 | 320 | 7.8 | 688
261 | 02.11.2022 | Aerobic Tank |  |  |  | 137.6 | 317 | 7.78 | 685

## Sheet2
Sr. No. | Date of sample collection (Morning Hrs) | Place of collecting the sample | COD value | TDS value (ppm) | pH value | Conductivity value | CHANGE IN COD | Initial COD value
1 | 24.01.2022 | Feed Tank | 640 | 466 | 8.18 | 1077 | 448 | 640
2 | 24.01.2022 | Aerobic Tank | 192 | 577 | 8.7 | 1129 | 64 | 192
3 | 24.01.2022 | Clarifier | 128 | 622 | 8.56 | 1338 | -256 | 128
4 | 25.01.2022 | Aerobic Tank | 384 | 532 | 8.43 | 1111 | 160 | 384
5 | 27.01.2022 | Aerobic Tank | 224 | 565 | 7.9 | 1035 | 64 | 224
6 | 28.01.2022 | Aerobic Tank | 160 | 561 | 7.72 | 1075 | 32 | 160
7 | 29.01.2022 | Aerobic Tank | 128 | 580 | 7.68 | 1063 | 32 | 128
8 | 31.01.2022 | Aerobic Tank | 96 | 669 | 8.08 | 1250 | 6.4 | 96
9 | 01.02.2022 | Aerobic Tank | 89.6 | 635 | 7.99 | 1106 | 4.8 | 89.6
10 | 02.02.2022 | Aerobic Tank | 84.8 | 555 | 8.12 | 978 | 20.8 | 84.8
11 | 03.02.2022 | Aerobic Tank | 64 | 593 | 8.08 | 1077 | 9.6 | 64
12 | 04.02.2022 | Aerobic Tank | 54.4 | 528 | 7.54 | 964 | 6.4 | 54.4
13 | 05.02.2022 | Aerobic Tank | 48 | 575 | 8.27 | 1000 | -352 | 48
14 | 07.02.2022 | Aerobic Tank (After addition of sewage) | 400 | 611 | 8.11 | 1198 | 16 | 400
15 | 08.02.2022 | Aerobic Tank | 384 | 548 | 8.14 | 964 | 4.8 | 384
16 | 09.02.2022 | Aerobic Tank | 379.2 | 592 | 7.91 | 1060 | 11.2 | 379.2
17 | 10.02.2022 | Aerobic Tank | 368 | 544 | 7.84 | 966 | 160 | 368
18 | 10.02.2022 | Clarifier | 208 | 549 | 7.35 | 1007 | -80 | 208
19 | 11.02.2022 | Aerobic Tank (Morning) | 288 | 539 | 8.03 | 1054 | 32 | 288
20 | 11.02.2022 | Aerobic Tank (Evening) | 256 | 535 | 8.06 | 1056 | 128 | 256
21 | 12.02.2022 | Aerobic Tank | 128 | 557 | 8.05 | 922 | 24 | 128
22 | 12.02.2022 | RO Permeate | 104 | 35 | 8.03 | 51.9 | -184 | 104
23 | 12.02.2022 | RO Reject | 288 | 860 | 7.65 | 1407 | 208 | 288
24 | 14.02.2022 | Aerobic Tank | 80 | 525 | 8.04 | 944 | 32 | 80
25 | 15.02.2022 | Aerobic Tank | 48 | 485 | 8.19 | 1045 | 12.8 | 48
26 | 16.02.2022 | Aerobic Tank | 35.2 | 494 | 8.25 | 1030 | 3.2 | 35.2
27 | 17.02.2022 | Aerobic Tank | 32 | 584 | 8.69 | 1100 | -432 | 32
28 | 18.02.2022 | Aerobic Tank | 464 | 566 | 8.45 | 1055 | 208 | 464
29 | 18.02.2022 | Clarifier Tank | 256 | 514 | 8.34 | 998 | -224 | 256
30 | 18.02.2022 | Feed Tank | 480 | 565 | 8.44 | 960 | 32 | 480
31 | 21.02.2022 | Aerobic Tank | 448 | 581 | 8.32 | 1076 | 384 | 448
33 | 21.02.2022 | RO Permeate | 64 | 36 | 7.83 | 52.1 | -192 | 64
34 | 21.02.2022 | RO Reject | 256 | 869 | 7.56 | 1531 | -128 | 256
36 | 23.02.2022 | Aerobic Tank | 384 | 553 | 8.24 | 1025 | 16 | 384
37 | 24.02.2022 | Aerobic Tank | 368 | 556 | 8.14 | 1007 | 16 | 368
38 | 25.02.2022 | Aerobic Tank | 352 | 534 | 8.34 | 997 | 96 | 352
39 | 25.02.2022 | Pure Water | 256 | 497 | 7.79 | 963 | -64 | 256
40 | 26.02.2022 | Aerobic Tank | 320 | 542 | 8.11 | 1010 | 32 | 320
41 | 28.02.2022 | Aerobic Tank | 288 | 527 | 8.38 | 971 | 32 | 288
42 | 02.03.2022 | Aerobic Tank | 256 | 533 | 8.36 | 988 | 256 | 256
Water Pushed on 03.03.2022 (800 litres per hr x 5.5 hrs = 4400 litres) | [6 empty] | -416
43 | 02.03.2022 | Tanker Sewage (After 100 % Filtration) | 416 | 461 | 8.2 | 895 | -128 | 416
44 | 03.03.2022 | Feed Tank without Pump | 544 | 494 | 8.31 | 962 | 112 | 544
45 | 03.03.2022 | Feed Tank with Pump | 432 | 545 | 7.8 | 1069 | 256 | 432
46 | 03.03.2022 | Aerobic Tank (From Previous Cycle of 18.02.2022) | 176 | 508 | 8.08 | 996 | -80 | 176
47 | 04.03.2022 | Aerobic | 256 | 576 | 7.72 | 1125 | -32 | 256
48 | 04.03.2022 | Clarifier | 288 | 527 | 6.89 | 1024 | 80 | 288
49 | 05.03.2022 | Aerobic Tank | 208 | 545 | 8.02 | 1060 | 19.2 | 208
50 | 07.03.2022 | Aerobic Tank | 188.8 | 490 | 8 | 1059 | 28.8 | 188.8
51 | 08.03.2022 | Aerobic Tank | 160 | 531 | 7.63 | 1009 | 32 | 160
52 | 09.03.2022 | Aerobic Tank | 128 | 490 | 7.56 | 971 | 4 | 128
53 | 10.03.2022 | Aerobic Tank | 124 | 506 | 7.7 | 1021 | 28 | 124
54 | 11.03.2022 | Aerobic Tank | 96 | 432 | 7.86 | 987 | #VALUE! | 96
55 | 11.03.2022 | Tanker Sewage | (736+768)/2= 752 | 416 | 8.15 | 811 | #VALUE! | (736+768)/2= 752
56 | 11.03.2022 | Tanker Sewage (After 100 % Filtration) | 416 | 416 | 8.15 | 811 | 336 | 416
57 | 12.03.2022 | Aerobic Tank | 80 | 486 | 7.99 | 941 | 16 | 80
58 | 14.03.2022 | Aerobic Tank (Morning) | 64 | 485 | 7.93 | 955 | 32 | 64
59 | 14.03.2022 | Aerobic Tank (Evening) | 32 | 483 | 7.35 | 969 | 32 | 32
Water Pushed on 15.03.2022 (500 litres per hr x 7 hrs = 3500 litres) | [6 empty] | -25.6
60 | 15.03.2022 | RO Permeate | 25.6 | 33 | 8.25 | 41.6 | -358.4 | 25.6
61 | 15.03.2022 | RO Reject | 384 | 1170 | 7.7 | 1845 | 288 | 384
62 | 15.03.2022 | RO Feed | 96 | 542 | 7.75 | 986 | -208 | 96
63 | 15.03.2022 | Clarifier Tank | 304 | 520 | 7.46 | 1032 | 144 | 304
64 | 15.03.2022 | Aerobic Tank | 160 | 522 | 7.54 | 1021 | 134.4 | 160
65 | 15.03.2022 | UF RO Feed | 25.6 | 534 | 7.27 | 1011 | -326.4 | 25.6
66 | 15.03.2022 | Feed With Pump | 352 | 558 | 7.65 | 1024 | 64 | 352
67 | 16.03.2022 | Aerobic Tank | 288 | 567 | 7.49 | 1085 | 32 | 288
68 | 17.03.2022 | Aerobic Tank | 256 | 507 | 7.31 | 1021 | 32 | 256
69 | 19.03.2022 | Aerobic Tank | 224 | 508 | 7.47 | 994 | 32 | 224
70 | 21.03.2022 | Aerobic Tank | 192 | 440 | 7.46 | 945 | 16 | 192
71 | 22.03.2022 | Aerobic Tank | 176 | 434 | 7.57 | 919 | 16 | 176
72 | 23.03.2022 | Aerobic Tank | 160 | 430 | 7.37 | 915 | 16 | 160
73 | 24.03.2022 | Aerobic Tank | 144 | 487 | 7.39 | 929 | 32 | 144
74 | 25.03.2022 | Aerobic Tank | 112 | 479 | 7.56 | 926 | 16 | 112
75 | 26.03.2022 | Aerobic Tank | 96 | 470 | 7.52 | 909 | 16 | 96
76 | 28.03.2022 | Aerobic Tank | 80 | 494 | 7.51 | 935 | -912 | 80
77 | 28.03.2022 | Tanker Sewage (Pushed on 30.03.2022) | 992 | 2072 | 7.98 | 4024 | 544 | 992
78 | 28.03.2022 | Tanker Sewage (After 100 % Filtration-Pushed on 30.03.2022) | 448 | 2072 | 7.98 | 4024 | 377.6 | 448
79 | 29.03.2022 | Aerobic Tank | 70.4 | 489 | 7.65 | 930 | 22.4 | 70.4
80 | 30.03.2022 | Aerobic Tank (Morning) | 48 | 486 | 7.75 | 929 | 48 | 48
Water Pushed on 30.03.2022 (2000 litres) & Packings Added (31st) | [6 empty] | -32
81 | 30.03.2022 | Aerobic Tank (Evening - After water pushed) | 32 | 569 | 7.45 | 1154 | -320 | 32
82 | 30.03.2022 | Feed tank with Pump | 352 | 502 | 7.65 | 969 | 256 | 352
83 | 30.03.2022 | Clarifier (From Earlier) | 96 | 554 | 7.41 | 1102 | -192 | 96
84 | 31.03.2022 | Aerobic Tank | 288 | 549 | 7.53 | 1042 | 64 | 288
85 | 01.04.2022 | Aerobic Tank | 224 | 560 | 7.82 | 1132 | 32 | 224
86 | 01.04.2022 | RO Feed Tank | 192 | 544 | 7.69 | 1079 | 32 | 192
87 | 04.04.2022 | Aerobic Tank (Before Water Pushed) | 160 | 518 | 7.54 | 972 | 160 | 160
Water Pushed on 04.04.2022 (1500 litres) | [6 empty] | -128
88 | 04.04.2022 | Aerobic Tank (After Water Pushed) | 128 | 528 | 7.44 | 989 | -256 | 128
89 | 04.04.2022 | Feed Tank With Pump | 384 | 1160 | 7.32 | 2211 | 256 | 384
90 | 04.04.2022 | Clarifier Tank | 128 | 520 | 7.46 | 980 | -32 | 128
91 | 04.04.2022 | RO Feed Tank | 160 | 526 | 7.48 | 988 | -160 | 160
92 | 05.04.2022 | Aerobic Tank | 320 | 504 | 7.39 | 977 | 64 | 320
93 | 06.04.2022 | Aerobic Tank | 256 | 496 | 7.03 | 932 | 32 | 256
94 | 07.04.2022 | Aerobic Tank | 224 | 465 | 6.89 | 908 | 32 | 224
95 | 08.04.2022 | Aerobic Tank | 192 | 458 | 7.17 | 890 | 16 | 192
96 | 09.04.2022 | Aerobic Tank | 176 | 443 | 7.47 | 951 | 48 | 176
97 | 11.04.2022 | Aerobic Tank | 128 | 473 | 7.66 | 953 | -224 | 128
98 | 11.04.2022 | Feed Tank (Time: 8:30) | 352 | 1370 | 7.77 | 2449 | 32 | 352
99 | 12.04.2022 | Feed Tank | 320 | 1030 | 7.9 | 1982 | 320 | 320
Run 1 | [6 empty] | -96
100 | 12.04.2022 | RO Feed Tank ( Time: 1 a.m) | 96 | 489 | 7.41 | 983 | 64 | 96
101 | 12.04.2022 | RO Permeate | 32 | 52 | 8.17 | 89 | -320 | 32
102 | 12.04.2022 | RO Reject | 352 | 821 | 7.35 | 1591 | 352 | 352
Run 2 | [6 empty] | -128
103 | 12.04.2022 | RO Feed Tank | 128 | 566 | 7.33 | 1040 | 64 | 128
104 | 12.04.2022 | RO Permeate | 64 | 126 | 7.39 | 221 | -320 | 64
105 | 12.04.2022 | RO Reject | 384 | 705 | 7.3 | 1232 | 0 | 384
106 | 12.04.2022 | FC Feed Tank | 384 | 677 | 7.82 | 1349 | 320 | 384
107 | 12.04.2022 | FC Permeate | 64 | 155 | 7.89 | 342 | -336 | 64
108 | 12.04.2022 | FC Reject | 400 | 658 | 8 | 1345 | 368 | 400
109 | 12.04.2022 | Product Water | 32 | 169 | 7.62 | 330 | -416 | 32
110 | 13.04.2022 | Aerobic Tank | 448 | 975 | 7.86 | 1702 | 32 | 448
111 | 18.04.2022 | Aerobic Tank | 416 | 813 | 8.17 | 1505 | 32 | 416
112 | 20.04.2022 | Aerobic Tank | 384 | 774 | 8.17 | 1373 | 16 | 384
113 | 21.04.2022 | Aerobic Tank | 368 | 770 | 7.5 | 1474 | 16 | 368
114 | 22.04.2022 | Aerobic Tank | 352 | 764 | 7.42 | 1375 | 96 | 352
115 | 25.04.2022 | Aerobic Tank | 256 | 679 | 7.02 | 1273 | 16 | 256
116 | 26.04.2022 | Aerobic Tank | 240 | 704 | 7.03 | 1286 | 16 | 240
117 | 28.04.2022 | Aerobic Tank | 224 | 744 | 6.69 | 1325 | 16 | 224
118 | 29.04.2022 | Aerobic Tank | 208 | 722 | 6.89 | 1323 | -176 | 208
119 | 29.04.2022 | Tanker Sewage | 384 | 354 | 7.5 | 713 | 32 | 384
120 | 29.04.2022 | Tanker Sewage ( After 100% Filtration) | 352 | 354 | 7.5 | 713 | 144 | 352
121 | 02.05.2022 | Aerobic Tank | 208 | 715 | 6.86 | 1358 | -32 | 208
122 | 04.05.2022 | Aerobic Tank | 240 | 779 | 6.79 | 1471 | -80 | 240
123 | 06.05.2022 | Aerobic Tank | 320 | 789 | 6.91 | 1485 | 64 | 320
124 | 09.05.2022 | Aerobic Tank | 256 | 782 | 6.86 | 1412 | 64 | 256
125 | 10.05.2022 | Aerobic Tank | 192 | 796 | 6.89 | 1415 | 64 | 192
126 | 11.05.2022 | Aerobic Tank | 128 | 753 | 6.87 | 1405 | 0 | 128
127 | 12.05.2022 | Aerobic Tank | 128 | 801 | 6.91 | 1493 | -32 | 128
128 | 13.05.2022 | Aerobic Tank | 160 | 811 | 6.95 | 1501 | -32 | 160
129 | 14.05.2022 | Aerobic Tank | 192 | 818 | 7.08 | 1509 | 64 | 192
130 | 17.05.2022 | Aerobic Tank | 128 | 798 | 7.01 | 1429 | 32 | 128
131 | 18.05.2022 | Aerobic Tank | 96 | 800 | 6.97 | 1435 | 32 | 96
132 | 19.05.2022 | Aerobic Tank (Before Water Pushed) | 64 | 769 | 7.02 | 1398 | -256 | 64
133 | 19.05.2022 | Feed Tank | 320 | 623 | 7.69 | 1121 | 320 | 320
Water Pushed on 19.05.2022 (1500 litres) | [6 empty] | -288
134 | 19.05.2022 | Aerobic Tank (After Water Pushed) | 288 | 974 | 7.46 | 1741 | 32 | 288
135 | 20.05.2022 | Aerobic Tank | 256 | 881 | 7.43 | 1561 | 16 | 256
136 | 21.05.2022 | Aerobic Tank | 240 | 828 | 7.35 | 1521 | 16 | 240
137 | 23.05.2022 | Aerobic Tank | 224 | 819 | 7.21 | 1519 | 6.4 | 224
138 | 24.05.2022 | Aerobic Tank | 217.6 | 782 | 7.1 | 1457 | 9.6 | 217.6
139 | 25.05.2022 | Aerobic Tank | 208 | 767 | 7.03 | 1427 | 6.4 | 208
140 | 26.05.2022 | Aerobic Tank | 201.6 | 818 | 6.97 | 1509 | 9.6 | 201.6
141 | 27.05.2022 | Aerobic Tank | 192 | 814 | 7 | 1497 | 6.5 | 192
142 | 28.05.2022 | Aerobic Tank | 185.5 | 810 | 6.99 | 1487 | 9.5 | 185.5
143 | 30.05.2022 | Aerobic Tank | 176 | 803 | 6.95 | 1463 | 6.4 | 176
144 | 31.05.2022 | Aerobic Tank | 169.6 | 800 | 6.87 | 1455 | 9.6 | 169.6
145 | 01.06.2022 | Aerobic Tank | 160 | 797 | 6.81 | 1442 | 6.4 | 160
146 | 02.06.2022 | Aerobic Tank | 153.6 | 793 | 6.79 | 1428 | 9.6 | 153.6
147 | 03.06.2022 | Aerobic Tank | 144 | 741 | 6.73 | 1415 | 6.4 | 144
148 | 04.06.2022 | Aerobic Tank | 137.6 | 814 | 6.87 | 1441 | 6.4 | 137.6
149 | 06.06.2022 | Aerobic Tank | 131.2 | 800 | 6.79 | 1448 | 9.6 | 131.2
150 | 07.06.2022 | Aerobic Tank | 121.6 | 848 | 6.77 | 1468 | -70.4 | 121.6
151 | 08.06.2022 | Aerobic Tank | 192 | 851 | 6.75 | 1451 | -32 | 192
152 | 09.06.2022 | Aerobic Tank | 224 | 858 | 6.73 | 1504 | 64 | 224
153 | 10.06.2022 | Aerobic Tank | 160 | 866 | 6.74 | 1514 | 32 | 160
154 | 11.06.2022 | Aerobic Tank | 128 | 861 | 6.72 | 1511 | 32 | 128
155 | 13.06.2022 | Aerobic Tank | 96 | 872 | 6.73 | 1523 | 96 | 96
Water Pushed on 13.06.2022 (2000 litres) | [6 empty] | -320
156 | 14.06.2022 | Aerobic Tank | 320 | 832 | 7.45 | 1433 | 16 | 320
157 | 15.06.2022 | Aerobic Tank | 304 | 821 | 7.45 | 1362 | 16 | 304
158 | 16.06.2022 | Aerobic Tank | 288 | 792 | 7.6 | 1358 | 6.4 | 288
159 | 17.06.2022 | Aerobic Tank | 281.6 | 778 | 7.52 | 1323 | 9.6 | 281.6
160 | 18.06.2022 | Aerobic Tank | 272 | 750 | 7.41 | 1302 | 6.4 | 272
161 | 20.06.2022 | Aerobic Tank | 265.6 | 678 | 7.34 | 1241 | 6.4 | 265.6
162 | 21.06.2022 | Aerobic Tank | 259.2 | 624 | 7.22 | 1186 | 6.4 | 259.2
163 | 22.06.2022 | Aerobic Tank | 252.8 | 661 | 7.13 | 1192 | 9.6 | 252.8
164 | 23.06.2022 | Aerobic Tank | 243.2 | 622 | 6.97 | 1140 | 6.4 | 243.2
165 | 24.06.2022 | Aerobic Tank | 236.8 | 610 | 6.96 | 1127 | 6.4 | 236.8
166 | 25.06.2022 | Aerobic Tank | 230.4 | 596 | 6.93 | 1103 | 6.4 | 230.4
167 | 27.06.2022 | Aerobic Tank | 224 | 595 | 7.12 | 1101 | 3.2 | 224
168 | 28.06.2022 | Aerobic Tank | 220.8 | 598 | 7.58 | 1142 | 6.4 | 220.8
169 | 29.06.2022 | Aerobic Tank | 214.4 | 623 | 7.5 | 1182 | 6.4 | 214.4
170 | 30.06.2022 | Aerobic Tank | 208 | 625 | 7.39 | 1187 | 6.4 | 208
171 | 1.07.2022 | Aerobic Tank | 201.6 | 625 | 7.35 | 1185 | 9.6 | 201.6
172 | 2.07.2022 | Aerobic Tank | 192 | 596 | 7.45 | 1115 | 6.4 | 192
173 | 4.07.2022 | Aerobic Tank | 185.6 | 621 | 7.4 | 1199 | -22.4 | 185.6
174 | 5.07.2022 | Aerobic Tank | 208 | 648 | 7.4 | 1162 | 16 | 208
175 | 6.07.2022 | Aerobic Tank | 192 | 583 | 7.39 | 1100 | 9.6 | 192
176 | 7.07.2022 | Aerobic Tank | 182.4 | 581 | 7.35 | 1091 | 6.4 | 182.4
177 | 8.07.2022 | Aerobic Tank | 176 | 580 | 7.35 | 1097 | 12.8 | 176
178 | 9.07.2022 | Aerobic Tank | 163.2 | 589 | 7.39 | 1111 | 35.2 | 163.2
179 | 14.07.2022 | Aerobic Tank | 128 | 545 | 7.23 | 1020 | 16 | 128
180 | 15.07.2022 | Aerobic Tank | 112 | 510 | 7.56 | 989 | 16 | 112
181 | 16.07.2022 | Aerobic Tank | 96 | 521 | 7.57 | 1010 | 9.6 | 96
182 | 18.07.2022 | Aerobic Tank | 86.4 | 514 | 7.65 | 993 | 6.4 | 86.4
183 | 19.07.2022 | Aerobic Tank | 80 | 522 | 7.6 | 1008 | 6.4 | 80
184 | 20.07.2022 | Aerobic Tank | 73.6 | 524 | 7.58 | 1009 | 6.4 | 73.6
185 | 21.07.2022 | Aerobic Tank | 67.2 | 519 | 7.55 | 989 | 3.2 | 67.2
186 | 22.07.2022 | Aerobic Tank | 64 | 520 | 7.54 | 997 | 3.2 | 64
187 | 23.07.2022 | Aerobic Tank | 60.8 | 518 | 7.52 | 985 | -35.2 | 60.8
188 | 25.07.2022 | Aerobic Tank | 96 | 529 | 7.79 | 1019 | -9.6 | 96
189 | 26.07.2022 | Aerobic Tank | 105.6 | 532 | 7.83 | 1024 | 3.2 | 105.6
190 | 27.07.2022 | Aerobic Tank | 102.4 | 528 | 7.77 | 1015 | -9.6 | 102.4
191 | 28.07.2022 | Aerobic Tank | 112 | 531 | 7.7 | 1022 | -3.2 | 112
192 | 29.07.2022 | Aerobic Tank | 115.2 | 530 | 7.52 | 1019 | 6.4 | 115.2
193 | 30.07.2022 | Aerobic Tank | 108.8 | 529 | 7.53 | 1018 | -3.2 | 108.8
194 | 01.08.2022 | Aerobic Tank | 112 | 540 | 7.55 | 1009 | 12.8 | 112
195 | 02.08.2022 | Aerobic Tank | 99.2 | 541 | 7.62 | 1053 | 6.4 | 99.2
196 | 03.08.2022 | Aerobic Tank | 92.8 | 535 | 7.64 | 1024 | 6.4 | 92.8
197 | 04.08.2022 | Aerobic Tank | 86.4 | 526 | 7.51 | 1015 | 6.4 | 86.4
198 | 05.08.2022 | Aerobic Tank | 80 | 525 | 7.53 | 1013 | 6.4 | 80
199 | 06.08.2022 | Aerobic Tank | 73.6 | 541 | 7.49 | 1046 | 6.4 | 73.6
200 | 08.08.2022 | Aerobic Tank | 67.2 | 545 | 7.51 | 1055 | 3.2 | 67.2
201 | 10.08.2022 | Aerobic Tank | 64 | 500 | 7.69 | 987 | 6.4 | 64
202 | 11.08.2022 | Aerobic Tank | 57.6 | 493 | 7.67 | 981 | 6.4 | 57.6
203 | 12.08.2022 | Aerobic Tank | 51.2 | 489 | 7.65 | 978 | 3.2 | 51.2
204 | 13.08.2022 | Aerobic Tank | 48 | 480 | 7.6 | 972 | 3.2 | 48
205 | 17.08.2022 | Aerobic Tank | 44.8 | 470 | 7.51 | 955 | 3.2 | 44.8
206 | 18.08.2022 | Aerobic Tank | 41.6 | 491 | 7.51 | 979 | -19.2 | 41.6
207 | 19.08.2022 | Aerobic Tank | 60.8 | 509 | 7.49 | 995 | 6.4 | 60.8
208 | 22.08.2022 | Aerobic Tank | 54.4 | 502 | 7.63 | 993 | 6.4 | 54.4
209 | 24.08.2022 | Aerobic Tank | 48 | 508 | 7.7 | 1006 | 6.4 | 48
210 | 25.08.2022 | Aerobic Tank | 41.6 | 518 | 7.68 | 1022 | 6.4 | 41.6
211 | 26.08.2022 | Aerobic Tank | 35.2 | 516 | 7.65 | 1018 | 3.2 | 35.2
212 | 27.08.2022 | Aerobic Tank | 32 | 507 | 7.6 | 1007 | -640 | 32
213 | 30.08.2022 | Sewage Tanker 1 | 672 | 243 | 7.78 | 514 | 480 | 672
214 | 30.08.2022 | Sewage Tanker 1 ( After 100% Filtration) | 192 | 243 | 7.78 | 514 | 156.8 | 192
215 | 01.09.2022 | Aerobic Tank | 35.2 | 511 | 7.66 | 976 | 3.2 | 35.2
216 | 02.09.2022 | Aerobic Tank | 32 | 501 | 7.64 | 943 | 32 | 32
Water Pushed on 03.09.2022 (4000 litres) | [6 empty] | -144
217 | 06.09.2022 | Aerobic Tank | 144 | 461 | 7.68 | 930 | 16 | 144
218 | 07.09.2022 | Aerobic Tank | 128 | 487 | 7.86 | 945 | 16 | 128
219 | 08.09.2022 | Aerobic Tank | 112 | 465 | 7.86 | 934 | -176 | 112
220 | 08.09.2022 | Sewage Tanker 2 | 288 | 221 | 7.53 | 484 | 58 | 288
221 | 08.09.2022 | Sewage Tanker 2 ( After 100% Filtration) | 230 | 221 | 7.53 | 484 | 134 | 230
222 | 12.09.2022 | Aerobic Tank | 96 | 443 | 7.7 | 883 | -6.4 | 96
223 | 13.09.2022 | Aerobic Tank | 102.4 | 439 | 7.74 | 851 | 102.4 | 102.4
Water Pushed on 13.09.2022 (4000 litres) | [6 empty] | -224
224 | 13.09.2022 | Feed Tank | 224 | 241 | 7.34 | 493 | 16 | 224
225 | 14.09.2022 | Aerobic Tank | 208 | 250 | 7.54 | 498 | 208 | 208
Water Pushed on 14.09.2022 (2000 litres) | [6 empty] | -182.4
226 | 16.09.2022 | Aerobic Tank | 182.4 | 257 | 7.87 | 521 | 67.4 | 182.4
227 | 17.09.2022 | Aerobic Tank (Morning) | 115 | 270 | 7.69 | 571 | 95.8 | 115
228 | 17.09.2022 | UF/MF Product | 19.2 | 240 | 8.09 | 469 | -22.4 | 19.2
229 | 17.09.2022 | Aerobic Tank (2:30 pm) | 41.6 | 242 | 8.05 | 485 | -144 | 41.6
230 | 17.09.2022 | Clarifier Tank | 185.6 | 258 | 8.39 | 570 | 125.6 | 185.6
231 | 17.09.2022 | RO Feed Tank | 60 | 255 | 8.19 | 503 | -80.8 | 60
232 | 19.09.2022 | Aerobic Tank | 140.8 | 249 | 7.95 | 488 | 9.6 | 140.8
233 | 20.09.2022 | Aerobic Tank | 131.2 | 250 | 8.05 | 499 | 9.6 | 131.2
234 | 21.09.2022 | Aerobic Tank | 121.6 | 247 | 7.98 | 486 | 9.6 | 121.6
235 | 22.09.2022 | Aerobic Tank | 112 | 239 | 8.01 | 473 | -16 | 112
236 | 23.09.2022 | Aerobic Tank | 128 | 242 | 8 | 471 | -9.6 | 128
237 | 24.09.2022 | Aerobic Tank | 137.6 | 251 | 7.87 | 505 | -6.4 | 137.6
238 | 27.09.2022 | Aerobic Tank | 144 | 248 | 7.97 | 501 | -12.8 | 144
239 | 01.10.2022 | Aerobic Tank | 156.8 | 241 | 7.94 | 487 | -6.4 | 156.8
240 | 02.11.2022 | Aerobic Tank | 163.2 | 299 | 8.01 | 605 | 9.6 | 163.2
241 | 03.11.2022 | Aerobic Tank | 153.6 | 297 | 7.98 | 601 | 9.6 | 153.6
242 | 05.11.2022 | Aerobic Tank | 144 | 295 | 7.89 | 597 | 6.4 | 144
243 | 07.11.2022 | Aerobic Tank | 137.6 | 323 | 7.83 | 677 | 6.4 | 137.6
244 | 08.11.2022 | Aerobic Tank | 131.2 | 319 | 7.79 | 645 | 35.2 | 131.2
245 | 09.11.2022 | Aerobic Tank | 96 | 312 | 7.75 | 640 | 9.6 | 96
246 | 10.11.2022 | Aerobic Tank | 86.4 | 308 | 7.77 | 634 | 6.4 | 86.4
247 | 11.11.2022 | Aerobic Tank | 80 | 300 | 7.8 | 621 | 3.2 | 80
248 | 12.11.2022 | Aerobic Tank | 76.8 | 325 | 7.82 | 698 | 6.4 | 76.8
249 | 14.11.2022 | Aerobic Tank | 70.4 | 323 | 7.81 | 678 | 6.4 | 70.4
250 | 15.11.2022 | Aerobic Tank | 64 | 318 | 7.78 | 665 | -22.4 | 64
251 | 16.11.2022 | Aerobic Tank | 86.4 | 320 | 7.8 | 669 | 6.4 | 86.4
252 | 17.11.2022 | Aerobic Tank | 80 | 330 | 7.86 | 726 | -80 | 80
253 | 22.11.2022 | Aerobic Tank | 160 | 333 | 7.84 | 727 | 35.2 | 160
254 | 23.11.2022 | Aerobic Tank | 124.8 | 329 | 7.81 | 721 | 6.4 | 124.8
255 | 24.11.2022 | Aerobic Tank | 118.4 | 328 | 7.82 | 724 | 6.4 | 118.4
256 | 25.11.2022 | Aerobic Tank | 112 | 322 | 7.79 | 717 | -48 | 112
257 | 28.11.2022 | Aerobic Tank | 160 | 324 | 7.8 | 720 | 6.4 | 160
258 | 29.11.2022 | Aerobic Tank | 153.6 | 327 | 7.78 | 725 | 3.2 | 153.6
259 | 30.11.2022 | Aerobic Tank | 150.4 | 323 | 7.6 | 718 | 6.4 | 150.4
260 | 01.11.2022 | Aerobic Tank | 144 | 320 | 7.8 | 688 | 6.4 | 144
261 | 02.11.2022 | Aerobic Tank | 137.6 | 317 | 7.78 | 685 | 137.6 | 137.6

## Sheet3
Sr. No. | Date of sample collection (Morning Hrs) | Place of collecting the sample | COD value | TDS value (ppm) | pH value | Conductivity value | CHANGE IN COD | Initial COD value
2 | 24.01.2022 | Aerobic Tank | 192 | 577 | 8.7 | 1129 | 64 | 192
4 | 25.01.2022 | Aerobic Tank | 384 | 532 | 8.43 | 1111 | 160 | 384
5 | 27.01.2022 | Aerobic Tank | 224 | 565 | 7.9 | 1035 | 64 | 224
6 | 28.01.2022 | Aerobic Tank | 160 | 561 | 7.72 | 1075 | 32 | 160
7 | 29.01.2022 | Aerobic Tank | 128 | 580 | 7.68 | 1063 | 32 | 128
8 | 31.01.2022 | Aerobic Tank | 96 | 669 | 8.08 | 1250 | 6.4 | 96
9 | 01.02.2022 | Aerobic Tank | 89.6 | 635 | 7.99 | 1106 | 4.8 | 89.6
10 | 02.02.2022 | Aerobic Tank | 84.8 | 555 | 8.12 | 978 | 20.8 | 84.8
11 | 03.02.2022 | Aerobic Tank | 64 | 593 | 8.08 | 1077 | 9.6 | 64
12 | 04.02.2022 | Aerobic Tank | 54.4 | 528 | 7.54 | 964 | 6.4 | 54.4
13 | 05.02.2022 | Aerobic Tank | 48 | 575 | 8.27 | 1000 | -352 | 48
14 | 07.02.2022 | Aerobic Tank (After addition of sewage) | 400 | 611 | 8.11 | 1198 | 16 | 400
15 | 08.02.2022 | Aerobic Tank | 384 | 548 | 8.14 | 964 | 4.8 | 384
16 | 09.02.2022 | Aerobic Tank | 379.2 | 592 | 7.91 | 1060 | 11.2 | 379.2
17 | 10.02.2022 | Aerobic Tank | 368 | 544 | 7.84 | 966 | 160 | 368
19 | 11.02.2022 | Aerobic Tank (Morning) | 288 | 539 | 8.03 | 1054 | 32 | 288
20 | 11.02.2022 | Aerobic Tank (Evening) | 256 | 535 | 8.06 | 1056 | 128 | 256
21 | 12.02.2022 | Aerobic Tank | 128 | 557 | 8.05 | 922 | 24 | 128
24 | 14.02.2022 | Aerobic Tank | 80 | 525 | 8.04 | 944 | 32 | 80
25 | 15.02.2022 | Aerobic Tank | 48 | 485 | 8.19 | 1045 | 12.8 | 48
26 | 16.02.2022 | Aerobic Tank | 35.2 | 494 | 8.25 | 1030 | 3.2 | 35.2
27 | 17.02.2022 | Aerobic Tank | 32 | 584 | 8.69 | 1100 | -432 | 32
28 | 18.02.2022 | Aerobic Tank | 464 | 566 | 8.45 | 1055 | 208 | 464
31 | 21.02.2022 | Aerobic Tank | 448 | 581 | 8.32 | 1076 | 384 | 448
36 | 23.02.2022 | Aerobic Tank | 384 | 553 | 8.24 | 1025 | 16 | 384
37 | 24.02.2022 | Aerobic Tank | 368 | 556 | 8.14 | 1007 | 16 | 368
38 | 25.02.2022 | Aerobic Tank | 352 | 534 | 8.34 | 997 | 96 | 352
40 | 26.02.2022 | Aerobic Tank | 320 | 542 | 8.11 | 1010 | 32 | 320
41 | 28.02.2022 | Aerobic Tank | 288 | 527 | 8.38 | 971 | 32 | 288
42 | 02.03.2022 | Aerobic Tank | 256 | 533 | 8.36 | 988 | 256 | 256
46 | 03.03.2022 | Aerobic Tank (From Previous Cycle of 18.02.2022) | 176 | 508 | 8.08 | 996 | -80 | 176
47 | 04.03.2022 | Aerobic | 256 | 576 | 7.72 | 1125 | -32 | 256
49 | 05.03.2022 | Aerobic Tank | 208 | 545 | 8.02 | 1060 | 19.2 | 208
50 | 07.03.2022 | Aerobic Tank | 188.8 | 490 | 8 | 1059 | 28.8 | 188.8
51 | 08.03.2022 | Aerobic Tank | 160 | 531 | 7.63 | 1009 | 32 | 160
52 | 09.03.2022 | Aerobic Tank | 128 | 490 | 7.56 | 971 | 4 | 128
53 | 10.03.2022 | Aerobic Tank | 124 | 506 | 7.7 | 1021 | 28 | 124
54 | 11.03.2022 | Aerobic Tank | 96 | 432 | 7.86 | 987 | 28 | 96
57 | 12.03.2022 | Aerobic Tank | 80 | 486 | 7.99 | 941 | 16 | 80
58 | 14.03.2022 | Aerobic Tank (Morning) | 64 | 485 | 7.93 | 955 | 32 | 64
59 | 14.03.2022 | Aerobic Tank (Evening) | 32 | 483 | 7.35 | 969 | 32 | 32
64 | 15.03.2022 | Aerobic Tank | 160 | 522 | 7.54 | 1021 | 134.4 | 160
67 | 16.03.2022 | Aerobic Tank | 288 | 567 | 7.49 | 1085 | 32 | 288
68 | 17.03.2022 | Aerobic Tank | 256 | 507 | 7.31 | 1021 | 32 | 256
69 | 19.03.2022 | Aerobic Tank | 224 | 508 | 7.47 | 994 | 32 | 224
70 | 21.03.2022 | Aerobic Tank | 192 | 440 | 7.46 | 945 | 16 | 192
71 | 22.03.2022 | Aerobic Tank | 176 | 434 | 7.57 | 919 | 16 | 176
72 | 23.03.2022 | Aerobic Tank | 160 | 430 | 7.37 | 915 | 16 | 160
73 | 24.03.2022 | Aerobic Tank | 144 | 487 | 7.39 | 929 | 32 | 144
74 | 25.03.2022 | Aerobic Tank | 112 | 479 | 7.56 | 926 | 16 | 112
75 | 26.03.2022 | Aerobic Tank | 96 | 470 | 7.52 | 909 | 16 | 96
76 | 28.03.2022 | Aerobic Tank | 80 | 494 | 7.51 | 935 | -912 | 80
79 | 29.03.2022 | Aerobic Tank | 70.4 | 489 | 7.65 | 930 | 22.4 | 70.4
80 | 30.03.2022 | Aerobic Tank (Morning) | 48 | 486 | 7.75 | 929 | 48 | 48
81 | 30.03.2022 | Aerobic Tank (Evening - After water pushed) | 32 | 569 | 7.45 | 1154 | -320 | 32
84 | 31.03.2022 | Aerobic Tank | 288 | 549 | 7.53 | 1042 | 64 | 288
85 | 01.04.2022 | Aerobic Tank | 224 | 560 | 7.82 | 1132 | 32 | 224
87 | 04.04.2022 | Aerobic Tank (Before Water Pushed) | 160 | 518 | 7.54 | 972 | 160 | 160
88 | 04.04.2022 | Aerobic Tank (After Water Pushed) | 128 | 528 | 7.44 | 989 | -256 | 128
92 | 05.04.2022 | Aerobic Tank | 320 | 504 | 7.39 | 977 | 64 | 320
93 | 06.04.2022 | Aerobic Tank | 256 | 496 | 7.03 | 932 | 32 | 256
94 | 07.04.2022 | Aerobic Tank | 224 | 465 | 6.89 | 908 | 32 | 224
95 | 08.04.2022 | Aerobic Tank | 192 | 458 | 7.17 | 890 | 16 | 192
96 | 09.04.2022 | Aerobic Tank | 176 | 443 | 7.47 | 951 | 48 | 176
97 | 11.04.2022 | Aerobic Tank | 128 | 473 | 7.66 | 953 | -224 | 128
110 | 13.04.2022 | Aerobic Tank | 448 | 975 | 7.86 | 1702 | 32 | 448
111 | 18.04.2022 | Aerobic Tank | 416 | 813 | 8.17 | 1505 | 32 | 416
112 | 20.04.2022 | Aerobic Tank | 384 | 774 | 8.17 | 1373 | 16 | 384
113 | 21.04.2022 | Aerobic Tank | 368 | 770 | 7.5 | 1474 | 16 | 368
114 | 22.04.2022 | Aerobic Tank | 352 | 764 | 7.42 | 1375 | 96 | 352
115 | 25.04.2022 | Aerobic Tank | 256 | 679 | 7.02 | 1273 | 16 | 256
116 | 26.04.2022 | Aerobic Tank | 240 | 704 | 7.03 | 1286 | 16 | 240
117 | 28.04.2022 | Aerobic Tank | 224 | 744 | 6.69 | 1325 | 16 | 224
118 | 29.04.2022 | Aerobic Tank | 208 | 722 | 6.89 | 1323 | -176 | 208
121 | 02.05.2022 | Aerobic Tank | 208 | 715 | 6.86 | 1358 | -32 | 208
122 | 04.05.2022 | Aerobic Tank | 240 | 779 | 6.79 | 1471 | -80 | 240
123 | 06.05.2022 | Aerobic Tank | 320 | 789 | 6.91 | 1485 | 64 | 320
124 | 09.05.2022 | Aerobic Tank | 256 | 782 | 6.86 | 1412 | 64 | 256
125 | 10.05.2022 | Aerobic Tank | 192 | 796 | 6.89 | 1415 | 64 | 192
126 | 11.05.2022 | Aerobic Tank | 128 | 753 | 6.87 | 1405 | 0 | 128
127 | 12.05.2022 | Aerobic Tank | 128 | 801 | 6.91 | 1493 | -32 | 128
128 | 13.05.2022 | Aerobic Tank | 160 | 811 | 6.95 | 1501 | -32 | 160
129 | 14.05.2022 | Aerobic Tank | 192 | 818 | 7.08 | 1509 | 64 | 192
130 | 17.05.2022 | Aerobic Tank | 128 | 798 | 7.01 | 1429 | 32 | 128
131 | 18.05.2022 | Aerobic Tank | 96 | 800 | 6.97 | 1435 | 32 | 96
132 | 19.05.2022 | Aerobic Tank (Before Water Pushed) | 64 | 769 | 7.02 | 1398 | -256 | 64
134 | 19.05.2022 | Aerobic Tank (After Water Pushed) | 288 | 974 | 7.46 | 1741 | 32 | 288
135 | 20.05.2022 | Aerobic Tank | 256 | 881 | 7.43 | 1561 | 16 | 256
136 | 21.05.2022 | Aerobic Tank | 240 | 828 | 7.35 | 1521 | 16 | 240
137 | 23.05.2022 | Aerobic Tank | 224 | 819 | 7.21 | 1519 | 6.4 | 224
138 | 24.05.2022 | Aerobic Tank | 217.6 | 782 | 7.1 | 1457 | 9.6 | 217.6
139 | 25.05.2022 | Aerobic Tank | 208 | 767 | 7.03 | 1427 | 6.4 | 208
140 | 26.05.2022 | Aerobic Tank | 201.6 | 818 | 6.97 | 1509 | 9.6 | 201.6
141 | 27.05.2022 | Aerobic Tank | 192 | 814 | 7 | 1497 | 6.5 | 192
142 | 28.05.2022 | Aerobic Tank | 185.5 | 810 | 6.99 | 1487 | 9.5 | 185.5
143 | 30.05.2022 | Aerobic Tank | 176 | 803 | 6.95 | 1463 | 6.4 | 176
144 | 31.05.2022 | Aerobic Tank | 169.6 | 800 | 6.87 | 1455 | 9.6 | 169.6
145 | 01.06.2022 | Aerobic Tank | 160 | 797 | 6.81 | 1442 | 6.4 | 160
146 | 02.06.2022 | Aerobic Tank | 153.6 | 793 | 6.79 | 1428 | 9.6 | 153.6
147 | 03.06.2022 | Aerobic Tank | 144 | 741 | 6.73 | 1415 | 6.4 | 144
148 | 04.06.2022 | Aerobic Tank | 137.6 | 814 | 6.87 | 1441 | 6.4 | 137.6
149 | 06.06.2022 | Aerobic Tank | 131.2 | 800 | 6.79 | 1448 | 9.6 | 131.2
150 | 07.06.2022 | Aerobic Tank | 121.6 | 848 | 6.77 | 1468 | -70.4 | 121.6
151 | 08.06.2022 | Aerobic Tank | 192 | 851 | 6.75 | 1451 | -32 | 192
152 | 09.06.2022 | Aerobic Tank | 224 | 858 | 6.73 | 1504 | 64 | 224
153 | 10.06.2022 | Aerobic Tank | 160 | 866 | 6.74 | 1514 | 32 | 160
154 | 11.06.2022 | Aerobic Tank | 128 | 861 | 6.72 | 1511 | 32 | 128
155 | 13.06.2022 | Aerobic Tank | 96 | 872 | 6.73 | 1523 | 96 | 96
156 | 14.06.2022 | Aerobic Tank | 320 | 832 | 7.45 | 1433 | 16 | 320
157 | 15.06.2022 | Aerobic Tank | 304 | 821 | 7.45 | 1362 | 16 | 304
158 | 16.06.2022 | Aerobic Tank | 288 | 792 | 7.6 | 1358 | 6.4 | 288
159 | 17.06.2022 | Aerobic Tank | 281.6 | 778 | 7.52 | 1323 | 9.6 | 281.6
160 | 18.06.2022 | Aerobic Tank | 272 | 750 | 7.41 | 1302 | 6.4 | 272
161 | 20.06.2022 | Aerobic Tank | 265.6 | 678 | 7.34 | 1241 | 6.4 | 265.6
162 | 21.06.2022 | Aerobic Tank | 259.2 | 624 | 7.22 | 1186 | 6.4 | 259.2
163 | 22.06.2022 | Aerobic Tank | 252.8 | 661 | 7.13 | 1192 | 9.6 | 252.8
164 | 23.06.2022 | Aerobic Tank | 243.2 | 622 | 6.97 | 1140 | 6.4 | 243.2
165 | 24.06.2022 | Aerobic Tank | 236.8 | 610 | 6.96 | 1127 | 6.4 | 236.8
166 | 25.06.2022 | Aerobic Tank | 230.4 | 596 | 6.93 | 1103 | 6.4 | 230.4
167 | 27.06.2022 | Aerobic Tank | 224 | 595 | 7.12 | 1101 | 3.2 | 224
168 | 28.06.2022 | Aerobic Tank | 220.8 | 598 | 7.58 | 1142 | 6.4 | 220.8
169 | 29.06.2022 | Aerobic Tank | 214.4 | 623 | 7.5 | 1182 | 6.4 | 214.4
170 | 30.06.2022 | Aerobic Tank | 208 | 625 | 7.39 | 1187 | 6.4 | 208
171 | 1.07.2022 | Aerobic Tank | 201.6 | 625 | 7.35 | 1185 | 9.6 | 201.6
172 | 2.07.2022 | Aerobic Tank | 192 | 596 | 7.45 | 1115 | 6.4 | 192
173 | 4.07.2022 | Aerobic Tank | 185.6 | 621 | 7.4 | 1199 | -22.4 | 185.6
174 | 5.07.2022 | Aerobic Tank | 208 | 648 | 7.4 | 1162 | 16 | 208
175 | 6.07.2022 | Aerobic Tank | 192 | 583 | 7.39 | 1100 | 9.6 | 192
176 | 7.07.2022 | Aerobic Tank | 182.4 | 581 | 7.35 | 1091 | 6.4 | 182.4
177 | 8.07.2022 | Aerobic Tank | 176 | 580 | 7.35 | 1097 | 12.8 | 176
178 | 9.07.2022 | Aerobic Tank | 163.2 | 589 | 7.39 | 1111 | 35.2 | 163.2
179 | 14.07.2022 | Aerobic Tank | 128 | 545 | 7.23 | 1020 | 16 | 128
180 | 15.07.2022 | Aerobic Tank | 112 | 510 | 7.56 | 989 | 16 | 112
181 | 16.07.2022 | Aerobic Tank | 96 | 521 | 7.57 | 1010 | 9.6 | 96
182 | 18.07.2022 | Aerobic Tank | 86.4 | 514 | 7.65 | 993 | 6.4 | 86.4
183 | 19.07.2022 | Aerobic Tank | 80 | 522 | 7.6 | 1008 | 6.4 | 80
184 | 20.07.2022 | Aerobic Tank | 73.6 | 524 | 7.58 | 1009 | 6.4 | 73.6
185 | 21.07.2022 | Aerobic Tank | 67.2 | 519 | 7.55 | 989 | 3.2 | 67.2
186 | 22.07.2022 | Aerobic Tank | 64 | 520 | 7.54 | 997 | 3.2 | 64
187 | 23.07.2022 | Aerobic Tank | 60.8 | 518 | 7.52 | 985 | -35.2 | 60.8
188 | 25.07.2022 | Aerobic Tank | 96 | 529 | 7.79 | 1019 | -9.6 | 96
189 | 26.07.2022 | Aerobic Tank | 105.6 | 532 | 7.83 | 1024 | 3.2 | 105.6
190 | 27.07.2022 | Aerobic Tank | 102.4 | 528 | 7.77 | 1015 | -9.6 | 102.4
191 | 28.07.2022 | Aerobic Tank | 112 | 531 | 7.7 | 1022 | -3.2 | 112
192 | 29.07.2022 | Aerobic Tank | 115.2 | 530 | 7.52 | 1019 | 6.4 | 115.2
193 | 30.07.2022 | Aerobic Tank | 108.8 | 529 | 7.53 | 1018 | -3.2 | 108.8
194 | 01.08.2022 | Aerobic Tank | 112 | 540 | 7.55 | 1009 | 12.8 | 112
195 | 02.08.2022 | Aerobic Tank | 99.2 | 541 | 7.62 | 1053 | 6.4 | 99.2
196 | 03.08.2022 | Aerobic Tank | 92.8 | 535 | 7.64 | 1024 | 6.4 | 92.8
197 | 04.08.2022 | Aerobic Tank | 86.4 | 526 | 7.51 | 1015 | 6.4 | 86.4
198 | 05.08.2022 | Aerobic Tank | 80 | 525 | 7.53 | 1013 | 6.4 | 80
199 | 06.08.2022 | Aerobic Tank | 73.6 | 541 | 7.49 | 1046 | 6.4 | 73.6
200 | 08.08.2022 | Aerobic Tank | 67.2 | 545 | 7.51 | 1055 | 3.2 | 67.2
201 | 10.08.2022 | Aerobic Tank | 64 | 500 | 7.69 | 987 | 6.4 | 64
202 | 11.08.2022 | Aerobic Tank | 57.6 | 493 | 7.67 | 981 | 6.4 | 57.6
203 | 12.08.2022 | Aerobic Tank | 51.2 | 489 | 7.65 | 978 | 3.2 | 51.2
204 | 13.08.2022 | Aerobic Tank | 48 | 480 | 7.6 | 972 | 3.2 | 48
205 | 17.08.2022 | Aerobic Tank | 44.8 | 470 | 7.51 | 955 | 3.2 | 44.8
206 | 18.08.2022 | Aerobic Tank | 41.6 | 491 | 7.51 | 979 | -19.2 | 41.6
207 | 19.08.2022 | Aerobic Tank | 60.8 | 509 | 7.49 | 995 | 6.4 | 60.8
208 | 22.08.2022 | Aerobic Tank | 54.4 | 502 | 7.63 | 993 | 6.4 | 54.4
209 | 24.08.2022 | Aerobic Tank | 48 | 508 | 7.7 | 1006 | 6.4 | 48
210 | 25.08.2022 | Aerobic Tank | 41.6 | 518 | 7.68 | 1022 | 6.4 | 41.6
211 | 26.08.2022 | Aerobic Tank | 35.2 | 516 | 7.65 | 1018 | 3.2 | 35.2
212 | 27.08.2022 | Aerobic Tank | 32 | 507 | 7.6 | 1007 | -640 | 32
215 | 01.09.2022 | Aerobic Tank | 35.2 | 511 | 7.66 | 976 | 3.2 | 35.2
216 | 02.09.2022 | Aerobic Tank | 32 | 501 | 7.64 | 943 | 32 | 32
217 | 06.09.2022 | Aerobic Tank | 144 | 461 | 7.68 | 930 | 16 | 144
218 | 07.09.2022 | Aerobic Tank | 128 | 487 | 7.86 | 945 | 16 | 128
219 | 08.09.2022 | Aerobic Tank | 112 | 465 | 7.86 | 934 | -176 | 112
222 | 12.09.2022 | Aerobic Tank | 96 | 443 | 7.7 | 883 | -6.4 | 96
223 | 13.09.2022 | Aerobic Tank | 102.4 | 439 | 7.74 | 851 | 102.4 | 102.4
225 | 14.09.2022 | Aerobic Tank | 208 | 250 | 7.54 | 498 | 208 | 208
226 | 16.09.2022 | Aerobic Tank | 182.4 | 257 | 7.87 | 521 | 67.4 | 182.4
227 | 17.09.2022 | Aerobic Tank (Morning) | 115 | 270 | 7.69 | 571 | 95.8 | 115
229 | 17.09.2022 | Aerobic Tank (2:30 pm) | 41.6 | 242 | 8.05 | 485 | -144 | 41.6
232 | 19.09.2022 | Aerobic Tank | 140.8 | 249 | 7.95 | 488 | 9.6 | 140.8
233 | 20.09.2022 | Aerobic Tank | 131.2 | 250 | 8.05 | 499 | 9.6 | 131.2
234 | 21.09.2022 | Aerobic Tank | 121.6 | 247 | 7.98 | 486 | 9.6 | 121.6
235 | 22.09.2022 | Aerobic Tank | 112 | 239 | 8.01 | 473 | -16 | 112
236 | 23.09.2022 | Aerobic Tank | 128 | 242 | 8 | 471 | -9.6 | 128
237 | 24.09.2022 | Aerobic Tank | 137.6 | 251 | 7.87 | 505 | -6.4 | 137.6
238 | 27.09.2022 | Aerobic Tank | 144 | 248 | 7.97 | 501 | -12.8 | 144
239 | 01.10.2022 | Aerobic Tank | 156.8 | 241 | 7.94 | 487 | -6.4 | 156.8
240 | 02.11.2022 | Aerobic Tank | 163.2 | 299 | 8.01 | 605 | 9.6 | 163.2
241 | 03.11.2022 | Aerobic Tank | 153.6 | 297 | 7.98 | 601 | 9.6 | 153.6
242 | 05.11.2022 | Aerobic Tank | 144 | 295 | 7.89 | 597 | 6.4 | 144
243 | 07.11.2022 | Aerobic Tank | 137.6 | 323 | 7.83 | 677 | 6.4 | 137.6
244 | 08.11.2022 | Aerobic Tank | 131.2 | 319 | 7.79 | 645 | 35.2 | 131.2
245 | 09.11.2022 | Aerobic Tank | 96 | 312 | 7.75 | 640 | 9.6 | 96
246 | 10.11.2022 | Aerobic Tank | 86.4 | 308 | 7.77 | 634 | 6.4 | 86.4
247 | 11.11.2022 | Aerobic Tank | 80 | 300 | 7.8 | 621 | 3.2 | 80
248 | 12.11.2022 | Aerobic Tank | 76.8 | 325 | 7.82 | 698 | 6.4 | 76.8
249 | 14.11.2022 | Aerobic Tank | 70.4 | 323 | 7.81 | 678 | 6.4 | 70.4
250 | 15.11.2022 | Aerobic Tank | 64 | 318 | 7.78 | 665 | -22.4 | 64
251 | 16.11.2022 | Aerobic Tank | 86.4 | 320 | 7.8 | 669 | 6.4 | 86.4
252 | 17.11.2022 | Aerobic Tank | 80 | 330 | 7.86 | 726 | -80 | 80
253 | 22.11.2022 | Aerobic Tank | 160 | 333 | 7.84 | 727 | 35.2 | 160
254 | 23.11.2022 | Aerobic Tank | 124.8 | 329 | 7.81 | 721 | 6.4 | 124.8
255 | 24.11.2022 | Aerobic Tank | 118.4 | 328 | 7.82 | 724 | 6.4 | 118.4
256 | 25.11.2022 | Aerobic Tank | 112 | 322 | 7.79 | 717 | -48 | 112
257 | 28.11.2022 | Aerobic Tank | 160 | 324 | 7.8 | 720 | 6.4 | 160
258 | 29.11.2022 | Aerobic Tank | 153.6 | 327 | 7.78 | 725 | 3.2 | 153.6
259 | 30.11.2022 | Aerobic Tank | 150.4 | 323 | 7.6 | 718 | 6.4 | 150.4
260 | 01.11.2022 | Aerobic Tank | 144 | 320 | 7.8 | 688 | 6.4 | 144
261 | 02.11.2022 | Aerobic Tank | 137.6 | 317 | 7.78 | 685 | 137.6 | 137.6

## pH_summary
Column1
Mean | 7.57
Standard Error | 0.029765
Median | 7.59
Mode | 7.54
Standard Deviation | 0.42721
Sample Variance | 0.18251
Kurtosis | -0.3135
Skewness | -0.15422
Range | 2.01
Minimum | 6.69
Maximum | 8.7
Sum | 1559.43
Count | 206

## Conductivity_summary
Column1
Mean | 1055.4757
Standard Error | 19.2313
Median | 1019
Mode | 1009
Standard Deviation | 276.0205
Sample Variance | 76187.3043
Kurtosis | -0.25816
Skewness | 0.0029138
Range | 1270
Minimum | 471
Maximum | 1741
Sum | 217428
Count | 206

## changeinCOD_summary
Change in COD Summary Statistics
Mean | 2.8155
Standard Error | 7.7214
Median | 9.6
Mode | 6.4
Standard Deviation | 110.8227
Sample Variance | 12281.6705
Kurtosis | 29.5876
Skewness | -4.1273
Range | 1296
Minimum | -912
Maximum | 384
Sum | 580
Count | 206

## TDS_summary
Column1
Mean | 556.5922
Standard Error | 11.7742
Median | 532
Mode | 528
Standard Deviation | 168.9912
Sample Variance | 28558.0183
Kurtosis | -0.44272
Skewness | 0.16481
Range | 736
Minimum | 239
Maximum | 975
Sum | 114658
Count | 206

## COD_summary
COD Summary Statistics
Mean | 166.4257
Standard Error | 6.6942
Median | 144
Mode | 128
Standard Deviation | 96.0805
Sample Variance | 9231.4688
Kurtosis | 0.40416
Skewness | 0.89216
Range | 432
Minimum | 32
Maximum | 464
Sum | 34283.7
Count | 206